# Colocation Facility Requirements for Alkindi, LLC

- Proximity – Physical Location

  - Alkindi is located in New York City, and while proximity is not a critical factor it will be an advantage to be near the collocation site.

- Security & Access

  - Security staffed 24 x 7

  - Access to facility 24 x 7

  - Strong access procedures

  - Physical security of servers

  - Additional security as demanded by our business, since we may be exchanging data with third parties, performing online monetary transaction etc.

- Network

  - Developed US backbone

  - Mature public and private peering

  - Quality of service

  - Production hardware used (Cisco, Arrowpoint, Checkpoint, Nokia etc)

  - Conditioned/Redundant power

  - Climate controlled environment

  - Fire suppression systems

  - Backup generators

- Services

  - Partial racks, racks, cages, variable size cages

  - timeframe/availability for racks (anticipating 2-3 racks, no special power requirements)

  - Firewalls, loadbalancing etc.

  - Equipment leasing/renting (servers, switch ports etc)

  - Server monitoring (via HPOpenView, BMC Patrol, etc.)

  - Managed services (system administration, firewall monitoring/maintenance, troubleshooting)

  - Automated backups

  - Additional statistics (per server/switch/firewall etc.)

  - Will you allow us to install our own private lines (T1, point to point etc.) to other locations?

- Company

  - Nationwide facilities

  - Worldwide facilities

  - Proven track record in hosting